non-regulated projects

water quality management plan (wqmp)

for

Type Project Name Here

Type Project Address Here

Type APN(s) Here

Non-Regulated Projects include:

- All new and re-development projects that create and/or replace (including projects with no net increase in impervious footprint) between 2,500 square feet and 5,000 square feet of impervious surface.

Stand-alone (detached) Single Family Residence (SFR) that will create and/or replace 2,500 square feet or more of impervious surface, refer to City of Barstow SFR WQMP Template.

Non-Regulated Projects DO NOT include:

- Routine Maintenance or repair,

- Interior remodels,

- Single Family Residential projects that are part of a larger development (e.g., Tract home developments, etc.),

- Projects described as “Priority (Site-Specific) Projects”, because of the site’s activities/operations, location, or hydrologic conditions.  These may include, but not limited to, sites with high potential of pollutants of concern where project may require alternative post-construction treatment strategies.

- Projects that create and/or replace more than 5,000 square feet of impervious surface(s), including structure(s), paving, roads, sidewalks, bicycle lanes,

- Projects described as Linear Underground/Overhead Projects where activities result in > 5,000 square feet of impervious surface(s).

Date (update each review submittal)

# Owner Certification

Owner responsiblity

The Owner is responsible for the implementation of the approved provisions of this plan.

“I am aware of the Site Design Measures and the selection(s) used for this project.  I have provided information in this Template to the best of my knowledge.  I understand, the city may require additional measures as necessary to ensure this project, and the City of Barstow meet State and Federal compliance requirements described in the Waste Discharge Requirements for Small Municipal Separate Storm Sewer System (MS4) (Order No. 2013-0001 DWQ).”

| Owner’s Information |  |
| --- | --- |
| Landowner’s Name(s): | Click here to enter text. |
| Mailing Address (if different): | Click here to enter text. |
| City, State Zip Code | Click here to enter text. |
| Phone: | Click here to enter text. |
| Email: | Click here to enter text. |

________

Owner Signature            			                                                                      Date

# Project Information

| - Project’s nearest cross-street names: | Click here to enter text. |  |
| --- | --- | --- |
| - Latitude: - Longitude: | Click here to enter text. Click here to enter text. |  |
| - CUP / Permit ID #: | Click here to enter text. |  |
| - Standard Industrial Code: | SIC # | https://www.osha.gov/pls/imis/sicsearch.html provide more than one (if applicable) |
| - Describe site activities: | Click here to enter text. |  |
| Pollutants of Concern: - The City of Barstow addresses the following Pollutants of Concern for all projects: Trash/debris Sediment Oil/Grease Check box(es) applicable to site, including outdoor storage, outdoor use, and part of operations. Pesticides/Herbicides Loading Docks Fueling/Petroleum hydrocarbons Infiltration Basin Outdoor storage (e.g. Materials, Metals, Toxic Compounds Provide in Section 3 how they will be managed. |  |  |

| Check boxes describing project. |  |  |
| --- | --- | --- |
| - New Development: No existing structure on site. - Redevelopment: Existing structure to remain, addition, or additional impervious structure/surface(s) added. - Redevelopment with Demo: Existing structure or part of existing structure to be removed and new structure, or existing impervious surface (e.g., paving removed) and replaced with other. - Other not described above; Describe:Click here to enter text. |  |  |
| - Project will be phased. | - # Phases:Click here to enter text. |  |
| - Anticipated duration of construction (XX months): |  | Click here to enter text. |

Select applicable. - Landowner(s) (signed in this document) is overseeing the project improvements and will continue to be the contact for the finished site. - Site maintenance and exterior care will be managed by others not listed in this document. Describe:Click here to enter text.

## Project Sizes

| - Property (Lot) Size: (Entire lot/parcel size) | 0.0 Acres | 0.0 Square Feet |
| --- | --- | --- |
| - Total Demolition Area(s): (No demolition, input “0.0”) |  | 0.0 Square Feet |
| - Total Project Area (Construction / Improvement Area) Delineate this area on the WQMP Exhibit |  | 0.0 Square Feet |

| Pre-Project Conditions for the Area (Item 25) |  |  |  |
| --- | --- | --- | --- |
| Pervious |  | Impervious |  |
| - Area (ft) | - Percentage % | - Area (ft) | - Percentage % |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

| Post-Construction Conditions for the Area (Item 25) |  |  |  |
| --- | --- | --- | --- |
| Pervious |  | Impervious |  |
| - Area (ft) | - Percentage % | - Area (ft) | - Percentage % |
| Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. | Click or tap here to enter text. |

- Describe project’s existing conditions: (existing surface type and how many directions storm run-off flows off-site and where, any infrastructures that will remain, over-all conditions of site, photos and descriptions may be provided as an Appendix/Attachment, etc.) Click here to enter text.

- Describe project’s proposed design: (replacement, improvements of surface types, storm run-off direction, include descriptions of where/what run-off from site go to, such as street, field, undeveloped land, etc.) Show in WQMP Exhibit. Name/Label each drainage (direction) run-off from site as a Drainage Area (DA). Click here to enter text.

# Site Design Measures

Site Design Measures intention is to reduce site runoff.   Per MS4 Permit § E.12.b, Project proponents shall use the State Water Board SMARTS Post-Construction Calculator

## Post Construction Low Impact Development (LID) Tool & Calculator

Notice: As of this template revision date, the excel Calculator found on the State’s link stop functioning as originally intended. City staff saved a working copy, and one is provided as part of this template’s zip file, titled, “120214_post_const_calc”. PLEASE NOTE: - It is advised to keep an original and “Save as” a working copy. - Do Not update to a newer version of excel, doing so may unlink some of the data - WARNING: The GREEN cells are not all are protected from unintentional changing - Please do not hesitate to contact City staff with any questions or for another copy of the calculator.

Refer to the Template Guide and Examples.

Print finished calculator worksheets and provide as part of submittal.

### Attached as Appendix A:

- Printed copies of the Post-Construction Water Balance Calculator sheet

  - cell C32 shall be green and read, “You have achieved your minimum requirements”, and

- Include printed copies of the Credits applied (tab worksheets).

- Ensure the printed copies are legible.

Helpful tip!

When selecting Side Design Measures in Section 2.2, consider: “Rain as a Resource” and keeping Pollutants of Concern (Section 1, #7 & 8) from leaving site.

## Site Design Measures Selection Summary

| Check Box | Site Design Measures Select one or more of the listed (minimum requirement). Show on WQMP Exhibit Plan | Sizing Tool |
| --- | --- | --- |
|  |  | Post Construction Calculator Credit |
| Required all projects | Rooftop and Impervious Area Disconnection (d) Rerouting of rooftop drainage pipes to drain rainwater to permeable areas (landscaped) instead of the storm sewer; or offsite. - Downspout to extend at least 2 feet from concrete slab or building structure and pointed accordingly. - Show roof-top area (size, sq. ft.), location/direction of down-spout, and landscaped area (sq. ft.) on WQMP Exhibit. - 600 sq. ft. or less of roof area per downspout. - Require a downspout splash block or equivalent to minimize soil erosion or groundcover wash-away - Roof driplines must be above landscaped areas, or graveled swale (not dirt). If not selected, describe reasoning and alternative method: Click here to enter text. | Downspout Disconnection |
|  | Vegetated or Rock-lined Swales (g) Vegetated (landscaped) or decorative rock-lined open-channel management practice designed specifically to treat and attenuate storm water runoff; - Cannot be plastic lined. - To be regularly maintained as part of grounds maintenance If selected, describe: Click here to enter text. | Vegetated Swale |
|  | Porous Stabilized Surfaces/Pavement (e) Allows runoff to pass through it, thereby reducing the runoff from a site and surrounding areas and filtering pollutants - Only within property boundaries, to be maintained by owner Includes: - Brick without Grout, - Cobbles over Soils, - Gravel over soils. Poured Porous Pavements require city conditions. If selected, describe: Click here to enter text. | Porous Pavement |
|  | Tree Planting and Preservation (c) Planting and preservation of healthy, established trees that include both evergreens and deciduous, as applicable. - Refer to city approved plant list - Formed tree well and tree root ball can be counted as Soil Quality Improvement below. - Provide Landscape Plan If not selected, describe reasoning and alternative method: Click here to enter text. | Tree Planting |
|  | Soil Quality Improvement and Maintenance (b) Improvement and maintenance soil through soil amendments and creation of microbial community. - Adding healthy soils to the depth needed for new roots (trees and shrubs). - Cannot be compacted during construction. If not selected, describe reasoning and alternative method: Click here to enter text. | Volume Reduction Credit: Soil Quality |
| Location Specific (not all projects applicable) |  |  |
|  | Setbacks and Buffers (a) Vegetated area including trees, shrubs, and herbaceous vegetation, that exists on the project’s property or will be established to protect adjacent drainage structures belonging to the city. - Runoff passes through healthy vegetated area prior to entering City drainage channel - Refer to city approved plant list If selected, describe: Click here to enter text. | Stream Buffer |
| Will require city conditions (contact city staff for information) |  |  |
| Rain Collection Systems (h) That collects and stores storm water runoff from a roof or other impervious surface to later use for irrigation purposes. Other collection systems, such as dry-wells, underground infiltration/percolation systems are NOT capture and use systems and require treatment prior to underground infiltration. - Maintained by owner, ensuring mosquito free |  | Volume Reduction Credit: Rain Barrels/Cistern |
| Green Roof (f): Omitted. |  |  |

If NONE of the above Site Design Measures (Section 3) are applicable to the site, describe reasoning and alternative method:

Click here to enter text.

# Good Housekeeping Measures

This Sections describes practices to be used on site throughout the life of the site’s occupancy and promotes City of Barstow Standards.  If existing site has existing policies and procedures, and/or Operation and Maintenance Program, provide revised or amended copy(ies).

### Education of Tenents/Occupants

Owner will ensure all persons maintaining site and operations will conduct the standard level of good-housekeeping practices.  This will include weed control, dust nuisance, visible erosion to final grades and windblown trash/debris.  Owner will provide site operations instructions to provide and maintain continuous protection of stormwater quality and ensuring BMPs are at optimal working order.

Paints, thinners, oil/greases, and other such chemicals used for site operations that are listed as Hazardous by OSHA will have proper containment facilities with Spill/Clean-up/ Plans and readily available clean-up materials and instructions to avoid described hazardous chemicals from discharging via hosing or other direct discharge to gutters, catch basins, and storm drains, public and private.

Click or tap here to enter text.

### Employee Training/Education Program

Employees will be instructed and trained in activities that may impact water quality.  This includes visible signs on and off site that may have the potential of impacting site and surroundings.  Employees will be instructed, by Owners, of site operations pertaining to hazardous materials as listed above.

Click or tap here to enter text.

### Site General Good Housekeeping

This measure includes overall curb appeal and frontage appearances, including weed control and windblown debris.  Includes inspections of run-on that appears to carry pollutants, including oil/grease sheen, notable levels of sediment yield during light or medium rain events shall be reported to the City of Barstow Public Works Department.

Click or tap here to enter text.

Weed Control and Dust Nuisance

Owner will ensure all persons maintaining site and operations will conduct over all good-housekeeping practices.  This will include weed control, dust nuisance, visible erosion to final grades and windblown trash/debris.

Click or tap here to enter text.

### Pavement Sweeping Parking Lots

For privately owned streets and parking lots, the streets and parking lots must be swept at least twice annually, prior to the storm season in the late summer or early fall, to reduce the amount of sediment, garden waste, and trash entering the storm drain systems.  Privately owned streets and parking lots in commercial, industrial, and along designated traffic/truck routes, must be swept at least once each quarter.  Street sweeping requirements apply to streets where there is sufficient curb and gutter to justify street sweeping.

Click or tap here to enter text.

### Landscape maintenance

Upkeep, maintenance, replacement of vegetation and ground covers, including but not limited to, erosion prevention, wind/dust control coverings, weed control, and pruning/trimming of over growth.

Click or tap here to enter text.

### Hazardous Materials Disclosure Compliance (if applicable)

Compliance for the management of hazardous materials is typically enforced by local fire protection agencies.  Refer to the Department of Toxics Substances Control for handling regulations.

Click or tap here to enter text.

# Appendix A:  Post Const Calc Worksheets

# Appendix B – WQMP Exhibit

## Preparing WQMP Exhibit & SubmittalCHECKLIST

Exhibit is a Site Plan showing Site Design Measures selected in Section 2 and calculated in the Post Construction Calculator, in addition, but not limited to permanent surface features (e.g., building roof edges, parking surfaces, storm drains, catch basins, landscaping areas, etc.)

Non-Regulated WQMP submittal includes:

- Filled Non-Regulated WQMP Template with no blanks (state “0” or “N/A” for non-applicable topics)

- Owner wet-signature and date will be required on final approved copy

- Appendix A:  Post-Construction Water Balance Calculator Worksheets

- Appendix B: 8x11 size WQMP Exhibit showing the project area.

  - Site Plan Scale

  - North Arrow

  - Symbol and hatch Legend

  - Delineate “Project Area” as described in Section 1.1 #19

    - Dimensions or callout indicating that the area(s)

  - Include details and specifications of Post-Construction BMP structures

    - Cross section details with dimensions (surface locations, surface openings, slopes, top and toe dimensions

    - Surface types (hatching or labels to indicate differences from adjacent)

  - Drainage Areas” by following grade breaks/roof ridgelines, etc

  - Topography.

    - Flow patterns, indicated with existing and proposed contours or

    - Surface flow directional arrows.

- If surface flow is going to more than one direction, then project has more than one Sub-watershed Areas (a.k.a., Drainage Area).  See Step 6 of the Post-Conts Calc.

- Each Sub-watershed Area requires a separate Post-Construction Calculator Worksheet(s).

  - Identify existing site features that will remain and pertinent to proposed site design

  - Storm drain inlets, Ribbon Gutters,

  - Symbol or point to location of roof downspouts and direction of flow

  - Proposed site features, such as:

    - Roof edge,

    - Sidewalks,

    - Paved parking,

    - Driveways,

    - Gates/Fences/Walls, etc.

  - Label entrances, delivery doors, pick-up/delivery routes

  - Trash enclosures

  - Storage areas (label “Covered”, “enclosed”, “open”)

    - Materials/equipment storage areas,

    - Outdoor work areas,

  - Identify landscaped areas.

    - Show by symbol trees used in the tree credit

    - Hatches for surface area types (gravels, grass, swales, etc.)

- Site Design Measures that require a cross section detail are:

  - Vegetated Swales

  - Soil Quality Amendments with Soil mix ratio.

- Include as Appendix C:

  - copy of the Demolition Area (if applicable; Section 1.1, #18),

  - copy(ies) all sheets of the Grading/Site Plan(s) at 8x11 sized sheets,

  - copy(ies) of the Erosion Control Plan at 8x11 sized sheets, and

  - 8x11 copy(ies) of the Landscaping Plans (if available).

--END of TEMPLATE--

# Appendix C: Copies of current civil Site Plans

Per Permit Section E.12.b.(ii), projects shall use the State Water Board SMARTS Post-Construction Calculator or equivalent to quantify the runoff reduction resulting from implementation of Site Design Measures.

The State Water Board SMARTS Post-Construction Calculator can be found at: https://smarts.waterboards.ca.gov/smarts/faces/SwSmartsLogin.jsp